2014 SRCA

V.1.1:06/18/2014

Copyright 2011 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 07310
SLATE SHINGLES
Revise this Section by deleting and inserting text to meet Project-specific requirements.

This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 RELATED DOCUMENTS

Retain or delete this article in all Sections of Project Manual.

A. Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 01 Specification Sections, apply to this Section.

1.2 SUMMARY

A. Section Includes:

1. Slate shingles.

2. Underlayment.

B. Related Sections:

Retain Sections in subparagraphs below that contain requirements Contractor might expect to find in this Section but are specified in other Sections.

1. Section 06100 "Rough Carpentry" for solid wood roof decking and wood cant strips.

1.3 DEFINITIONS

A. Roofing Terminology:  See ASTM D 1079 and glossary in NRCA's "The NRCA Roofing and Waterproofing Manual" for definitions of terms related to roofing work in this Section.

1.4 ACTION SUBMITTALS

A. Product Data:  For each type of product indicated.

B. Samples for Initial Selection:  Of each color, size, texture, and shape.

1. Include similar Samples of trim and accessories involving color selection.

Delete "Samples for Initial Selection" Paragraph above if colors and other characteristics are preselected and specified or scheduled.  Retain paragraph below with or without above.

C. Samples for Verification:  For the following products, of sizes indicated, to verify color selected:

1. Slate Shingle:  Full size, of each color, size, texture, and shape.

2. Fasteners:  Three fasteners of each type, length, and finish.

Retain first subparagraph below if metal open-valley flashings are required.

1.5 INFORMATIONAL SUBMITTALS

Retain first paragraph below for material test reports that are Contractor's responsibility.

A. Material Test Reports:  Based on evaluation of comprehensive tests performed by a qualified testing agency, for each slate variety.

B. Warranty:  Sample of special warranty.

1.6 MAINTENANCE MATERIAL SUBMITTALS

A. Furnish extra materials that match products installed and that are packaged with protective covering for storage and identified with labels describing contents.

1. Slate Shingles:  2% of total roof area installed, including each type and color, stacked on edge.
1.7 QUALITY ASSURANCE

A. Source Limitations:  Obtain each color of slate shingle from single quarry capable of producing slate of consistent quality in appearance and physical properties.

B. Mockups:  Build mockups to verify selections made under sample submittals and to demonstrate aesthetic effects and set quality standards for materials and execution.

1. Build mockups for slate shingles including related roofing materials.

a. Size:  minimum of 48 inches long by 48 inches  wide

Retain first subparagraph below if mockups are not only for establishing appearance factors.

2. Approval of mockups does not constitute approval of deviations from the Contract Documents contained in mockups unless Architect specifically approves such deviations in writing.

Retain subparagraph below if mockups are installed as part of building rather than erected separately and the intention is to make an exception to the default requirement in Section 014000 "Quality Requirements" for demolishing and removing mockups when directed unless otherwise indicated.

3. Approved mockups may become part of the completed Work if undisturbed at time of Substantial Completion.

Retain paragraph below if Work of this Section is extensive or complex enough to justify a preinstallation conference.

C. Preinstallation Conference:  Conduct conference at Project site.
1.8 DELIVERY, STORAGE, AND HANDLING

A. Store underlayment rolls on end, on pallets or other raised surfaces.  Do not double stack rolls.

1. Handle, store, and place roofing materials in a manner to avoid significant or permanent damage to roof deck or structural supporting members.

B. Protect unused underlayment from weather, sunlight, and moisture when left overnight or when roofing work is not in progress.

C. Store slates on edge, and on pallets.

1.9 WARRANTY

When warranties are required, verify with Owner's counsel that special warranties stated in this article are not less than remedies available to Owner under prevailing local laws.

A. Special Warranty:  Standard form in which roofing Installer agrees to repair or replace slate roofing that fails in materials or workmanship within specified warranty period.

1. Warranty Period:  Two years from date of Substantial Completion.

PART 2 -  PRODUCTS

2.1 SLATE SHINGLES

For roofing longevity, NRCA recommends Grade S1, the highest grade for slate shingles, instead of Grade S2.

A. Slate Shingles:  ASTM C 406, Grade S1; hard, dense, and sound; chamfered edges, with nail holes machine punched for slates 3/8” or less in thickness, slates thicker than ½” may be drilled and countersunk.  
1. No broken or cracked slates, no broken exposed corners, and no broken corners on covered ends that could sacrifice nailing strength or laying of a watertight roof.

2. No pyrite inclusions in slates.

3. No carbon-bearing bands or soft or weak ribbons in slates.
4. No knots or knurls or cramps in slates that would produce humps in the roof.
5. Nail holes are to be positioned no more than 1.5” in from the side edges of the slate. 

6. Nail holes must be positioned approximately 2/3 the distance from the bottom of the slate when using standard 3” headlap. The top of the underlying slate shall not be penetrated by the slating nails.

7. The holes punched in the slates shall be the correct diameter to provide a snug fit for the shank of the roofing nails.
See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers.  Retain one of first two subparagraphs and list of manufacturers below.  See Section 016000 "Product Requirements."

8. Manufacturers:  Subject to compliance with requirements, provide products by one of the following:
a. beNatural Slate
b. Camara Slate Products, Inc.
c. Evergreen Slate Co., Inc.
d. Greenstone Slate Company
e. Natural Slate and Quarzite Co., LLC
f. The New England Slate Company
g. Newmont Slate Co., Inc.
h. North Country Slate
i. SSQ North America
j. Taran Brothers Slate Company
k. Vermont Slate Company LLC
l. Vermont Structural Slate Co. / James River Slate Co.
m. The Vintage Slate Company, Inc.
Retain one thickness option in first subparagraph below.  Commercial standard slate roofs use smooth-textured slate shingles 3/16 inch (5 mm) thick.  Standard slate roofs use slate shingles ranging from 3/16 to 1/4 inch (5 to 6 mm) thick.  Revise to include thickness range if graduated slate roofing, using the thickest, widest, and longest slate at the eaves and progressively reducing these dimensions toward the ridge, is required.

9. Thickness:  <Insert dimension>.

Retain one of two options in first subparagraph below.  Verify terms for surface texture of slate shingles, which may vary regionally.

10. Surface Texture:  <Insert texture>.

Retain size of slate shingles in first eight subparagraphs below.  Retain width option for shingle lengths unless random widths are required.  Revise to insert further limitations on random-width slate shingles if retaining that option.

11. Size:  insert size.

Two prepunched holes per shingle are standard for slate shingles.  For very steep roofs and for thick, heavy, or long slate shingles, four holes may be required.  Some authorities having jurisdiction may require four holes per shingle in regions subject to high winds.

12. Nail Holes:  Minimum two per shingle.

Retain first subparagraph below if standard square-cut slate is required.

13. Butt Shape:  Insert shape.
Retain first subparagraph below if special butt shape is required.  Specify standard width rather than random widths with special butt shapes.  Draw shape if descriptions, which may vary regionally, are insufficient.

Retain color option in first subparagraph below after verifying availability.  Colors available in one region may not be available in another.

14. Color:  [As selected by Architect from manufacturer's full range] <Insert color>.

Retain one of two options in subparagraph below.  Retain first option for minimal color change; retain second for moderate or obvious color change.  Because color change is an inherent slate property, verify availability with manufacturer.

15. Weather-Exposure Color Change:  [Unfading] [Weathering].

B. Starter Slate:  Slate shingles with chamfered nail holes front-side punched.

1. Length:  Exposure of slate shingle plus head lap.

Retain paragraph below if ridge slate requires special fabrication during manufacture.  Slate shingles for valleys, hips, finish course, and roof penetrations are field cut to shape and hole punched.  See "Slate-Shingle Installation" Article.

2.2 UNDERLAYMENT MATERIALS

Retain first paragraph below for asphalt-saturated organic felt underlayment.  Type I felt is the minimum accepted by the IRC.  Type II felt predominates and is the minimum accepted by the IBC.  Type II felt is more than twice the weight of Type I felt.  See "Felt Underlayment" Article in the Evaluations.

A. Felt Underlayment:  ASTM D 226, Type II, asphalt-saturated organic felt, unperforated.

Retain first paragraph below for asphalt-saturated and -coated organic felt underlayment.

Use self-adhering, polymer-modified underlayment in three paragraphs below to resist leaks from ice-dam areas and other vulnerable roof areas.  Retain first paragraph if granular-surfaced sheet is required.

Retain paragraph below if underlayment is subject to high temperatures.  Most products use a butyl-based adhesive; some use SBS-modified asphalt.

2.3 ACCESSORIES

A. Slating Nails:  ASTM F 1667, copper or stainless-steel, smooth shanked, wire nails; 0.135-inch minimum thickness; sharp pointed; with 3/8-inch minimum diameter flat head; of sufficient length to penetrate a minimum of 3/4 inch into sheathing.

Retain or revise subparagraph below if applicable.

1. Where nails are in contact with metal flashing, use nails made from same metal as flashing.

B. Felt Underlayment Nails:  Stainless-steel, or hot-dip galvanized-steel wire nails with low-profile capped heads or disc caps, 1-inch minimum diameter.

Retain first paragraph below if wood nailer strips, used at ridges, hips, and eave cants, are required.  Revise to insert material requirements for wood if preferred.

C. Wood Nailer Strips and Eave Cants:  Comply with requirements in Section 061000 "Rough Carpentry." 

First paragraph below is an example of a proprietary slate-covered ridge cap or ridge vent that must be fastened into a wood ridge beam.

2.4 METAL FLASHING AND TRIM

A. General:  Comply with requirements in Section 07620 "Sheet Metal Flashing and Trim."

1. Sheet Metal:  minimum16 oz. (20 oz recommended) Copper or minimum 28 gauge Stainless steel.

B. Fabricate sheet metal flashing and trim to comply with recommendations that apply to design, dimensions, metal, and other characteristics of the item in SMACNA's "Architectural Sheet Metal Manual" and “Copper and Common Sense” by Revere Copper Products
Retain detailed fabrication requirements for flashings in seven subparagraphs below.  Delete subparagraphs if Drawings fully detail these flashing conditions.  Dimensions of flashings are those recommended in NRCA's "NRCA Steep Roofing Manual"; revise to suit Project.

Retain paragraph below for plumbing vents that penetrate roof.  Revise to another flashing material if required or delete paragraph and include requirements in Section 076200 "Sheet Metal Flashing and Trim" or Section 221316 "Sanitary Waste and Vent Piping."

C. Vent-Pipe Flashings:  Provide minimum 16 oz. copper or lead (ASTM B 749, Type L51121, at least 1/16 inch thick) sleeve sized to slip over and turn down into pipe, soldered to skirt at slope of roof and extending at least 4 inches from pipe onto roof.

PART 3 -  EXECUTION

3.1 EXAMINATION

A. Examine substrates, areas, and conditions, with Installer present, for compliance with requirements for installation tolerances and other conditions affecting performance of the Work.

1. Examine roof sheathing to verify that sheathing joints are supported by framing and blocking and that installation is within flatness tolerances.

2. Verify that substrate is sound, dry, smooth, clean, sloped for drainage, and completely anchored and that provision has been made for flashings and penetrations through roofing.

B. Proceed with installation only after unsatisfactory conditions have been corrected.

3.2 UNDERLAYMENT INSTALLATION

Underlayments installed parallel to eaves are installed perpendicular to sloped roof deck.  Underlayments installed parallel to the rake are installed parallel to sloped roof deck.

A. General:  Comply with underlayment manufacturer's written installation instructions applicable to products and applications indicated unless more stringent requirements apply.

Retain first paragraph below if a single layer of felt underlayment is required.

Retain first paragraph below if double layers of felt underlayment are required.  Side lap and starter course dimensions are based on 36-inch- (914-mm-) wide rolls of felt underlayment.  Objective is to maintain double layer of coverage with 2 inches (50 mm) to spare.

B. Double-Layer Felt Underlayment:  Install on roof deck parallel with and starting at the eaves.  Install a 19-inch- wide starter course at eaves and completely cover with full-width second course.  Install succeeding courses lapping previous courses 19 inches in shingle fashion.  Lap ends a minimum of 6 inches.  Stagger end laps between succeeding courses at least 72 inches.  Fasten with felt underlayment nails.
Retain first subparagraph below if cemented double layers of felt underlayment serve as an ice-dam membrane or if required for additional protection for low-slope underlayment.  Versatile self-adhering sheet underlayment has largely replaced cemented double layers of felt as ice-dam protection.

Retain first option in subparagraph below if felt is covered with self-adhering sheet underlayment against walls and other roof projections.

1. Terminate felt underlayment extended up not less than 4 inches against sidewalls, curbs, chimneys, and other roof projections.

Retain first paragraph below for installing a single, self-adhering sheet underlayment.

Retain paragraph below for felt underlayment at open valleys to be covered with metal valley flashing.

C. Metal-Flashed, Open-Valley Underlayment:  Install two layers of 36-inch-wide felt underlayment centered in valley.  Stagger end laps between layers at least 72 inches.  Lap ends of each layer at least 12 inches in direction to shed water.  Fasten each layer to roof deck with felt underlayment nails.

1. Lap roof-deck felt underlayment over first layer of valley felt underlayment at least 6 inches.

3.3 METAL FLASHING INSTALLATION

A. General:  Install metal flashings and other sheet metal to comply with requirements in Section 07620 "Sheet Metal Flashing and Trim."

Retain first paragraph below for apron flashings.  Apron flashings provide a weatherproofing transition material where a roof area intersects a head wall.  Common locations for apron flashings include the front downslope side of a dormer or chimney, curbed roof penetrations, and clerestory transitions.

B. Apron Flashings:  Extend lower flange over and beyond each side of downslope slate shingles and up the vertical surface.

Retain first paragraph below for interleaving metal step flashings between succeeding courses of slate shingles that abut vertical surfaces such as chimneys, sidewalls, and skylights.

C. Step Flashings:  Install with a head lap of 3 inches and extend both horizontally and vertically.  Install with lower edge of flashing just upslope of, and concealed by, butt of overlying slate shingle.  Fasten to roof deck only.

Retain first paragraph below if cricket or backer flashings are required.

D. Cricket Flashings:  Install against the roof-penetrating element, extending concealed flange beneath upslope slate shingles and beyond each side.

Retain first paragraph below if interleaved hip flashings are required for mitered or fantail hips.

E. Hip Flashings:  Install centrally over hip with lower edge of flashing concealed by butt of overlying slate shingle.  Fasten to roof deck.

Retain first paragraph below for metal valley flashings.  Revise dimensions to suit Project.  Open and closed valleys require sheet metal flashings.

F. Valley Flashings:  Install centrally in valleys, lapping ends at least 8 inches in direction to shed water.  Fasten upper end of each length to roof deck beneath overlap.

Retain first subparagraph below if securing flange edges with cleats.

1. Nail valley flashings within ¾” of the edge of the flashing.

2. If valleys are soldered, cleating is preferred to nailing.

Retain subparagraph below if applicable.  NRCA advises stripping-in flashing at open valleys in areas subject to snow and ice accumulation and frequent freeze-thaw cycles.

Retain one or both of first two paragraphs below if applicable.

G. Pipe Flashings:  Form flashing around pipe penetrations and slate shingles.  Fasten to roof deck.

3.4 SLATE-SHINGLE INSTALLATION

A. General:  Beginning at eaves, install slate shingles according to the SRCA’s written installation guidelines and as follows: 

1. Install wood cant strip or metal drip edge with integral cant at eave edges.

2. Install shingle starter course chamfered face down.

B. Install first and succeeding shingle courses with chamfered face up.  Begin installation with full-width first course end slate at rake edge.

1. Offset joints of uniform-width slate shingles by half the shingle width in succeeding courses.

2. Offset joints of random-width slate shingles a minimum of 3 inches in succeeding courses.

C. Maintain a 3-inch-minimum head lap between succeeding shingle courses.

Retain one option in first paragraph below or revise if required to describe a graduated slate roof where shingle length and exposure gradually reduce between eaves and ridge.

D. Maintain uniform exposure of shingle courses between eaves and ridge.

E. Extend shingle starter course and first course minimum 1.5 inches over fascia at eaves.

F. Extend shingle starter course and succeeding courses 1 inch over fascia at rakes.

G. Cut and fit slate neatly around roof vents, pipes, ventilators, and other projections through roof.

H. Hang each slate with two slating nails for each shingle with nail heads lightly touching slate.  Do not drive nails home drawing slates downward or leave nail head protruding enough to interfere with overlapping shingle above.

I. Metal Ridge:  Install metal ridge with fasteners of same metal as ridge, fastened through keyways in slate, or with cleats and blind fasteners.

1. Overlap metal ridge sections minimum 4 inches at ends.

Retain one of three options in first paragraph below for traditional treatment at uncapped or unvented ridges.  NRCA does not recommend strip saddle slate ridge.

J. Ridges:  Install ridge slate in [saddle] configuration.

Retain first subparagraph below for saddle ridge; delete for strip saddle or combing ridge.

1. Install and anchor wood nailer strips of thicknesses to match abutting courses of slate shingles, terminating nailer strip 1 inch from the eave.  

Retain first subparagraph below for saddle ridge and combing ridge.

Retain first option in first subparagraph below for saddle ridge and strip saddle ridge; retain second option for combing ridge.

2. Anchor ridge slate to supporting wood nailer strip with three nails for each slate shingle without nails penetrating underlying slate.

Retain first subparagraph below for combing ridge.

K. Hips:  Install and anchor slate hips in [saddle] [mitered] [fantail] configuration.

Retain first subparagraph below for saddle hip; delete for mitered and fantail hips.

1. Install and anchor wood nailer strips of thickness to match abutting courses of slate shingles.  Anchor hip slate to nailer strip with three nails located in upper third of hip-slate length.

Retain first subparagraph below for saddle hips.

2. Notch starter shingle and first shingle course at hip to fit around nailer strips so no wood is exposed at ridge eave.

Retain subparagraph below for mitered and fantail hips.

Retain first paragraph below for open valleys.

L. Open Valleys:  Cut slate shingles to form straight lines at open valleys.  Maintain uniform width of exposed open valley from highest to lowest point.

1. Do not nail shingles to valley metal flashings.

Retain paragraph below for closed valleys.

M. Closed Valleys:  Cut slate shingles to form straight lines at closed valleys.  

1. Do not nail shingles to valley metal flashings.

3.5 ADJUSTING AND CLEANING

A. Remove and replace damaged or broken slate shingles.

B. Remove excess slate and debris from Project site.

END OF SECTION
	SLATE SHINGLES - 07310 - 1
	



